INQUIRY SHEET  ____________________

for Multi-Turn Actuator Order placement

(MON, MOP, MONED, MOPED, MO EEx, MOED EEx)

| Fitting assembly | Quantity, pc.: |
| --- | --- |
| Type, DN, PN |  |  |
| Mechanical connection used with actuator |
| According to ST CKBA 062-2009 (OST 26-07-763-73) | ( М | ( А claw clutch | ( А square shaft | ( B | ( V | ( G | ( D |
| ISO 5210 DIN 3210 | Flange size | ( F10 | ( F14 | ( F16 | ( F25 | ( F30 | ( F35 |
|  | Connection shape | ( A | ( B | ( B1 | ( B3(E) | ( C | ( D |  |
| ( Other (show type or standard, or attach drawing) |
| Shaft | Shaft diameter __mm Thread pitch __mm | ( Rising shaft ( Non-rising shaft | Number of revolutions per working stroke ___ rev. |
| Actuator selection parameters |
| Torque specification for control of the fitting | Closing _____Nm | Opening _____Nm | Output shaft velocity __rev/min | Note |
| Surrounding conditions | Enclosure | Temperature, (C | Note |
|  | ( IP 55 ( IP 67 ( ______ | Od | Do | For actuators in non-explosive version, up to max. temperature +55°С |
|  |  | ( –25 ( –40 | ( –50 ( –60 ( ______ | ( +55 ( +70 ( ______ |  |
| Environments with explosion hazard | ( not required | ( ExdIIBT4 ( ExdIICT4 ( ExdeIIBT4 ( ExdeIICT4 ( __________________ | ExdIICT4 and ExdeIICT4 – only to temperature –25°С |
| Supply voltage | ( 3×380 (400) V, 50 Hz ( 1×220 (230) V, 50 Hz ( _______________ |
| Actuator functions | ( Open/Close | ( Regulation |
| Control signal | Discrete (voltage) signal ( ~250 V ( +24 V ( ________ |
|  | Analog signal ( Current 4-20 mA ( ___________________ |
|  | ( Digital signal - Profibus-DP protocol ( Digital signal - Modbus-RTU protocol |
| Feedback signal | ( Current transmitter 4-20 mA | ( Active | ( Passive |
|  | ( Resistance position transmitter (0-100Ω/0-10V) |
| Control system |
| Type of control system | ( Electromechanical | ( Electronic DMS2ED | ( Electronic DMS2 |
| Signalling unit | ( Included in assembly | ( Included in assembly | ( Included in assembly |
| Local control unit | ( Included in assembly | ( Included in assembly | ( Included in assembly |
| Built-in display | – | ( Included in assembly | ( Included in assembly |
| Position indicator | ( Mechanical (except actuators in explosion-proof design) | ( Built-in display function (included in assembly) | ( Built-in display function (included in assembly) |
| Blinker | ( Included in assembly | – | – |
| Reversing unit and electronic brake | ( Contactors ( Electronic brake | ( Contactors ( Contact-less ( Electronic brake | ( Contactors ( Contact-less ( Electronic brake |
|  | Note – electronic brake can be used in actuators with three-phase electric motor, with reversing unit and position controller, with electric motor output up to 2,2kW. |
| Submitted by: |

# Text boxes

www.zpa-pecky.cz